Table of contents

Disclaimer	(i)

Notice to readers	(ii)

Executive summary	(iii)

1	Introduction	1

1.1 Motivation	1

1.2 Objectives	2

1.3 Target groups	2

1.4 Scope of DESDAF	3

2	Fundamentals of air dissolution	5

2.1 Air solubility and Henry’s law	5

2.2 Air transfer systems	7

2.3 Definition of air transfer efficiency	11

2.4 Saturator air composition	11

2.5 Prediction of air transfer efficiency	13

2.6 Measuring of air transfer efficiency	13

2.7 Design of the recycle system	15

3	DESDAF user guide	17

3.1 Minimum system requirements	17

3.2 Software installation	17

4	Using DESDAF	19

4.1 Design and analysis component	19

4.2 Help component	20

5	Examples	22

5.1 Example for design of a new saturator system	22

5.2 Example for analysis of an existing saturator system	29

5.3 Example for using the help screens	33

6	Summary and conclusions	36

7	References	37

Appendix A: Print-out of help screens	A 1

Appendix B: A simplified method for assessing the saturator efficiency at full-scale dissolved air flotation plants	B 1

List of figures

Fig. 2-1:	Different air dissolution systems	8

Fig. 2-2:	Different saturator types	10

Fig. 2-3:	Predicted effect of saturator pressure and hydraulic loading on time to reach equilibrium in saturator air composition	12

Fig. 5-1:	Start window	22

Fig. 5-2:	Choose an application	23

Fig. 5-3:	Input parameters for design of a new saturation system	23

Fig. 5-4:	Maximum air solubility at atmospheric and saturator conditions (Design)	24

Fig. 5-5:	Design basis for recycle and saturation system	24

Fig. 5-6:	Saturator design parameters	25

Fig. 5-7:	Packing material parameters	26

Fig. 5-8:	Results for saturator design	26

Fig. 5-9:	Results for recycle ratio	27

Fig. 5-10:	End of design program	27

Fig. 5-11:	Print a design report	28

Fig. 5-12:	Preview of design report	28

Fig. 5-13.	Input parameters for analysis of an existing saturator system –1	29

Fig. 5-14:	Maximum air solubility at atmospheric and saturator conditions (Analysis)	30

Fig. 5-15:	Input parameters for analysis of an existing saturator system –2	30

Fig. 5-16:	Determining the saturator efficiency from measurements	31

Fig. 5-17:	Results for saturator efficiency	31

Fig. 5-18:	Results for air mass supplied to flotation unit	32

Fig. 5-19:	End of analysis	32

Fig. 5-20:	Window for entering packing material parameters	33

Fig. 5-21:	Help screen for packing material	33/34

Fig. 5-22:	Help screen for packed saturators	35

List of Tables

Table 2-1.	Atmospheric air composition (CRC Handbook, 1985)	5

Table 2-2.	Reported techniques for measuring saturation efficiency	14