Disclaimer

This report emanates from a project financed by the Water Research Commission (WRC) and is approved for publication.  Approval does not signify that the contents necessarily reflect the views and policies of the WRC or the members of the project steering committee, nor does mention of trade names or commercial products constitute endorsement or recommendation for use.

The software package DESDAF, which forms part of this report, is a consolidation of the latest research and development available to the authors.  The underlying theory and relevant references are clearly stated and users have a professional responsibility to consult the primary sources before actual systems are designed.  The authors, the WRC and the Rand Afrikaans University (RAU) cannot and do not guarantee that any functions contained in the software will meet your requirements, or that its operation will be error free.  The entire risk as to the software performance or quality, or both, is solely with the user and not the authors.  The user assumes responsibility for the installation, use and results obtained from the software.

The authors make no warranty, either implied or expressed, including without limitation any warranty with respect to the software documented here, its quality, performance, or fitness for a particular purpose.  In no event shall the authors be liable to the user for damages, whether direct or indirect, incidental, special or consequential arising out of the use of or any defect in the software, even if the authors have been advised of the possibility of such damages, or for any claim by any other party.

All other warranties of any kind, either implied or expressed, including but not limited to the implied warranties of merchantability and fitness for a particular purpose, are expressly excluded.

Notice to readers

- The publication of this report emanates from a WRC project entitled “A design and analysis package for air saturation systems used in dissolved air flotation “ (WRC Project No K5/872)

- The software package DESDAF forms part of this report.  Updates to this program will be regularly posted on the website of the WRC at http://www.wrc.org.za/software/.  Users are urged to always download the latest version before use.

- Users who experience difficulty in running the program, can send an e-mail question to watergroup@ing1.rau.ac.za up the end of June 2001.  Note that this service is limited to problems in running the program, and does not include consultation on saturator design or analysis.

Executive Summary

The software package DESDAF provides a design and analysis tool for packed saturators used in dissolved air flotation (DAF).  With only a few inputs from the user, the program can either design a new saturation system from scratch or analyse an existing saturator in terms of its air transfer efficiency.  The end result in both cases is the amount of air supplied by the saturator to the flotation unit.

The design of a packed saturator is based on a model for predicting the air transfer efficiency in the packing layer of that saturator.  The model was developed and experimentally verified by the RAU Water Research Group.  It assumes the Lewis-Whitman two-film theory as well as concentration driven diffusion and uses the Onda correlations to estimate the mass transfer coefficient of air into water.  The analysis component of DESDAF incorporates test and calculation procedures, which were also developed by the RAU Water Research Group in an attempt to standardise these methods.  Both, the design and analysis part of the program, take factors into account, which have hitherto been ignored or been used incorrectly, such as the saturator air composition and the oxygen saturation level of raw water and recycle.

DESDAF furthermore includes a comprehensive help component, which not only serves as support tool for the design and analysis part but can also be read as stand-alone documentation.  It provides comprehensive background information on air dissolution and packed saturator systems and incorporates the latest knowledge on this subject.

The scope of DESDAF and DESDAF’s target groups are addressed in Chapter 1 of this report.  Chapter 2 gives a brief summary of the fundamentals of air dissolution, which form the basis of the program.  Chapter 3, 4 and 5 represent the User’s Manual with instructions for software installation and of how to use the program.  Explicit examples are given for all three components of the program (design, analysis and help).  A print-out of all the help screens can be found in Appendix A.  One of DESDAF’s program options is the analysis of an existing saturator from field measurements.  A step-by-step description of the procedure for measuring the saturator efficiency is given in Appendix B.