## Licence
ECONOLEAK : Leakage Economic Model for Active Leakage Control Evaluation
Version 1a : 7 December 2001
Copyright and All Rights Reserved.
Copyright in the whole and every part of this program is the property of the South African Water Research Commission in association with Global Water Resources Ltd. and may not be used, sold, transferred, copied or reproduced in whole or in part or in any manner or form or on any media or to any other person without prior written consent of the Owner.
This copy licensed to: |  | ABC Water Company
Ref.
Conditions of Use:
1. | The program is protected with passwords which will not be revealed.
2. | No liability will be accepted by the WRC in respect of any viruses transferred or claimed to have been transferred through use of the program. Copies of the disks have been virus checked before dispatch, but the purchaser should also check the disks for viruses.
3. | No liability will be accepted by the WRC in respect of the use or misuse of this program by the purchasers or for the interpretation of any data or results arising from the use of the program. The program is customised for the specific situation of South Africa and should not be used for analysis of data from other locations where the assumptions might be inappropriate.
4. | By opening the software and proceeding from this Licence Worksheet to the other Worksheets, the User accepts these Conditions of Use
5. | This program is designed to operate using Microsoft Excel. If any difficulties are experienced with the installation or operation of this program, please contact the WRC or the developers (e-mail mckenzie@global.co.za) quoting the name, version and issue date of the program.

## Data Sheet1
DATA ENTRY SHEET FOR ECONOLEAK MODEL
1. General
Name of Water Undertaking:
Name of Water Supply System:
| Contact Details: |  |  | Name:
Address:
Tel:
Fax:
email:
Date:
2. System Data
| Input Description |  |  |  |  | Variable | Example Data | Actual Data | Units
| Length of Transmission Mains |  |  |  |  | Lm_t | 20 | 20 | km
| Length of Distribution Mains |  |  |  |  | Lm_d | 300 | 300 | km
| Total Length of Mains |  |  |  |  | Lm | 320 | 320 | km
| Number of Service Connections |  |  |  |  | Ns | 7500 | 7500 | Number | See Notes 1 & 2
| Density of Service Connections (per km of mains) |  |  |  |  | Ns/Lm | 23.4375 | 23.4375 | Per km
| Length of underground pipe per connection (if greater than 10m) |  |  |  |  | Ls | 0 | 0 | m
| Total volume of Storage Reservoirs in the System |  |  |  |  | Vol | 1.5 | 1.5 | Ml
| Percentage of time system is pressurised during year |  |  |  |  | T | 100 | 100 | % | See Note 3
| Average Operating Pressure of Transmission Mains |  |  |  |  | P_t | 45 | 45 | metres
| Average operating pressure of reticulation system when system pressurised |  |  |  |  | P | 45 | 45 | metres | See Note 4
| Population served by the supply system |  |  |  |  | Pop | 100000 | 100000 | Number
Note 1: | 1. The number of service connections is not always the same as the number of meters or billed accounts. For South African conditions, however, you can use the total of the number of metered accounts plus the estimated number of unmetered connections
Note 2: | 2. In South Africa customer meters are usually located close to the street/stand boundary. If this is not the case for your system, then add a note here. |  |  |  | Insert your comments in this space.
Note 3: | 3. Use T in % eg. If T = 80%, use 80 and not 0.8
Note 4: | 4. If you do not have an accurate figure, please make a best estimate and provide brief details of how you derived it. |  |  |  | Insert your comments in this space.
3a. Unavoidable Annual Real Losses (UARL) : Basic Parameters
|  | Example Data |  |  |  | Actual Data
| Details | Background | Reported | Unreported | Total | Background | Reported | Unreported | Total | Units
|  |  | Bursts | Bursts |  |  | Bursts | Bursts
| Transmission Mains | 9.6 | 5.8 | 2.6 | 18 | 9.6 | 5.8 | 2.6 | 18 | Litres/km / day per m pressure
| Distribution mains | 9.6 | 5.8 | 2.6 | 18 | 9.6 | 5.8 | 2.6 | 18 | Litres/km / day per m pressure
| Connections | 0.6 | 0.04 | 0.16 | 0.8 | 0.6 | 0.04 | 0.16 | 0.8 | Litres/conn/day per m pressure
| Service Pipes | 16 | 1.9 | 7.1 | 25 | 16 | 1.9 | 7.1 | 25 | Litres/km/day per m pressure
3b. Unavoidable Annual Real Losses (UARL) for System
|  | Example Data |  |  |  | Actual Data
| Details | Litres/second | m3/hr | m3/day | m3/yr | Litres/second | m3/hr | m3/day | m3/yr
| Transmission Mains | 0.1875 | 0.675 | 16.2 | 5917.05 | 0.1875 | 0.675 | 16.2 | 5917.05
| Distribution Mains | 2.8125 | 10.125 | 243 | 88755.75 | 2.8125 | 10.125 | 243 | 88755.75
| Connections | 3.125 | 11.25 | 270 | 98617.5 | 3.125 | 11.25 | 270 | 98617.5
| Service Pipes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Losses | 6.125 | 22.05 | 529.2 | 193290.3 | 6.125 | 22.05 | 529.2 | 193290.3
3c. Infrastructure Leakage Index (ILI)
| Details |  |  | Example | Actual | Units
| 1. Water Supplied to the System |  |  | 15000000 | 15000000 | m3/yr
| 2. Authorised Consumption |  |  | 14000000 | 14000000 | m3/yr
| 3. Current Total Annual Water Losses : 1 - 2 |  |  | 1000000 | 1000000 | m3/yr
| 4. Apparent Losses as % of Total Losses |  |  | 25 | 25 | %
| 5. Apparent Losses |  |  | 250000 | 250000 | m3/yr
| 6. Current Annual Real Losses (CARL) |  |  | 750000 | 750000 | m3/yr
| 7. Unavoidable Annual Real Losses (UARL) |  |  | 193290.3 | 193290.3 | m3/yr
| 8. Infrastructure Leakage Index (ILI) : 6 / 7 |  |  | 3.8802 | 3.8802

## Data Sheet 2
4a. Duration and Rates for Reported Bursts @ 50m pressure
| Example Data |  |  |  | Actual Data
Details | Awareness | Repair | Total | Losses | Awareness | Repair | Total | Losses
| and Location |  | Days | m3/hour | and Location |  | Days | m3/hr
Transmission Mains | 0.5 | 0.5 | 1 | 30 | 0.5 | 0.5 | 1 | 30
Distribution Mains | 1 | 0.5 | 1.5 | 12 | 1 | 0.5 | 1.5 | 12
Connections | 5 | 6 | 11 | 1.6 | 5 | 6 | 11 | 1.6
Service Pipes | 5 | 6 | 11 | 1.6 | 5 | 6 | 11 | 1.6
4b. Basic Information on Unreported Bursts @ 50m pressure
Details | Example Data |  |  | Actual Data
| Unreported as | N1 Value | Losses | Unreported as | N1 Value | Losses
| % of Reported | for Bursts | m3/hr | % of Reported | for Bursts | m3/hr
Transmission Mains | 0 | 0.5 | 12 | 0 | 0.5 | 12
Distribution Mains | 5 | 0.5 | 6 | 5 | 0.5 | 6
Connections | 33 | 0.5 | 1.6 | 33 | 0.5 | 1.6
Service Pipes | 33 | 0.5 | 1.6 | 33 | 0.5 | 1.6
4c. Number of Bursts per year
Details | Example Data |  |  |  | Actual Data
| Reported Bursts per Year |  | Unreported Bursts per Year |  | Reported Bursts per Year |  | Unreported Bursts per Year
| Frequency | Number of | Frequency | Number of | Frequency | Number of | Frequency | Number of
|  | Bursts |  | Bursts |  | Bursts |  | Bursts
Transmission | 0.03 | 0.6 | 0 | 0 | 0.03 | 0.6 | 0 | 0
Mains | (per km mains/yr) |  | (per km mains/yr) |  | (per km mains/yr) |  | (per km mains/yr)
Distribution | 0.15 | 45 | 0.0075 | 2.25 | 0.15 | 45 | 0.0075 | 2.25
Mains | (per km mains/yr) |  | (per km mains/yr) |  | (per km mains/yr) |  | (per km mains/yr)
Connections | 2.5 | 18.75 | 0.825 | 6.1875 | 2.5 | 18.75 | 0.825 | 6.1875
| (per 1000 conn/yr) |  | (per 1000 conn/yr) |  | (per 1000 conn/yr) |  | (per 1000 conn/yr)
Service Pipes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (per 1000 conn/yr) |  | (per 1000 conn/yr) |  | (per 1000 conn/yr) |  | (per 1000 conn/yr)
4d. Losses from Reported Bursts (adjusted for local pressure)
| Example Data |  |  |  | Actual Data
Details | Number of | Duration | Rate(@50m) | Ave. Losses | Number of | Duration | Rate(@50m) | Ave. Losses
| Bursts per yr | Days | m3/hr | m3/day | Bursts per yr | Days | m3/hr | m3/day
Transmission | 0.6 | 1 | 30 | 1.1228 | 0.6 | 1 | 30 | 1.1228
Mains
Distribution | 45 | 1.5 | 12 | 50.5271 | 45 | 1.5 | 12 | 50.5271
Mains
Connections | 18.75 | 11 | 1.6 | 20.5851 | 18.75 | 11 | 1.6 | 20.5851
Service Pipes | 0 | 11 | 1.6 | 0 | 0 | 11 | 1.6 | 0
Totals | 64.35 |  |  | 72.2351 | 64.35 |  |  | 72.2351
4e. Losses from Unreported Bursts at Regular Inspection Intervals (adjusted for local pressure)
| Example Data |  |  |  |  | Actual Data
Details | Rate(@50m) | Ave Losses | Losses (m3/day) for interventions |  |  | Rate(@50m) | Ave Losses | Losses (m3/day) for interventions
| m3/hr | m3/day | Every 2 yrs | Every year | Every 6 months | m3/hr | m3/day | Every 2 yrs | Every year | Every 6 months
Transmission Mains | 12 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0
Distribution Mains | 6 | 0.84212 | 307.7944 | 154.1078 | 77.2644 | 6 | 0.84212 | 307.7944 | 154.1078 | 77.2644
Connections | 1.6 | 0.61755 | 229.1125 | 116.4089 | 60.0571 | 1.6 | 0.61755 | 229.1125 | 116.4089 | 60.0571
Service Pipes | 1.6 | 0 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0
Totals |  | 1.4597 | 536.9069 | 270.5167 | 137.3215 |  | 1.4597 | 536.9069 | 270.5167 | 137.3215

## Data Sheet 3
5a. Marginal Cost of Water
Details | Example Data |  |  | Actual Data
| Imported | Own | Highest | Imported | Own | Highest
| Water | Sources |  | Water | Sources
Bulk Supply | 2 | 0 |  | 2
Power | 0 | 0.7 |  |  | 0.75
Chemicals |  | 0.05 |  |  | 0.05
Other 1
Other 2
Other 3
Total | 2 | 0.75 | 2 | 2 | 0.8 | 2
5b. Costs for Leak Detection
Details |  | Example | Actual | Units
Cost for regular sounding per km |  | 800 | 800 | R / km
% Coverage required for Correlation |  | 20 | 20 | %
Cost for Correlation per km |  | 1000 | 1000 | R / km
Supervision as % of Inspection Costs |  | 15 | 15 | %
Measuring Minimum Night Flows |  | 100000 | 100000 | Rand
Administrative Set Up Costs |  | 5000 | 5000 | Rand
Cost to repair Mains Leak |  | 5000 | 5000 | Rand
Cost to Repair Service/Connection Leak |  | 2000 | 2000 | Rand
10. Other 3
5c. Costs for an Intervention at Regular Intervals
Details |  | Example Data |  |  | Actual Data
|  | Every 2 years | Every 1 year | Every 6 months | Every 2 years | Every 1 year | Every 6 months
Administration set up costs |  | 2500 | 5000 | 10000 | 2500 | 5000 | 10000
Manpower Inspection Costs |  | 160000 | 320000 | 640000 | 160000 | 320000 | 640000
Supervision Costs |  | 24000 | 48000 | 96000 | 24000 | 48000 | 96000
Mains repair costs |  | 11250 | 11250 | 11250 | 11250 | 11250 | 11250
Connection repair costs |  | 12375 | 12375 | 12375 | 12375 | 12375 | 12375
Other Costs 1
Other Costs 2
Total Costs |  | 210125 | 396625 | 769625 | 210125 | 396625 | 769625

## Data Sheet 4
6a. Unavoidable Background Losses (Adjusted for Local Pressure)
|  | Example Data |  |  | Actual Data
Details |  | Unavoidable |  | Unavoidable | Unavoidable |  | Unavoidable
|  | Background | N1 Value | Background | Background | N1 Value | Background
|  | Leakage |  | Leakage (m3/day) | Leakage |  | Leakage (m3/day)
1. Service Reservoirs |  | 0.1 |  | 1.5 | 0.1 |  | 1.5
|  | % of capacity/day |  |  | % of capacity/day
2. Transmission Mains |  | 20 | 1.5 | 8.1966 | 20 | 1.5 | 8.1966
|  | l/km/hr @ 50m |  |  | l/km/hr @ 50m
3. Distribution Mains |  | 20 | 1.5 | 122.9494 | 20 | 1.5 | 122.9494
|  | l/km/hr @ 50m |  |  | l/km/hr @ 50m
4. Connections |  | 1.25 | 1.5 | 192.1084 | 1.25 | 1.5 | 192.1084
|  | l/conn/hr @ 50m |  |  | l/conn/hr @ 50m
5. Service pipes |  | 0 | 1.5 | 0 | 0 | 1.5 | 0
|  | l/conn/hr @ 50m |  |  | l/conn/hr @ 50m
Totals |  |  |  | 324.7543 |  |  | 324.7543
6b. Base Level for Annual Real Losses
Details |  | Example Data | Actual Data
Unavoidable Background Losses |  | 324.7543 | 324.7543
Factor for Base Level losses |  | 2 | 2
Total Base Background Losses |  | 649.5087 | 649.5087
Losses From Reported Bursts |  | 72.2351 | 72.2351
Base Level of Real Losses |  | 721.7438 | 721.7438
6c. Base Level of Annual Real Losses
| Example Data (m3/day) |  |  |  | Actual Data (m3/day)
| Background Losses |  | Bursts | Total | Background Losses |  | Bursts | Total
Details | Basic | Base Level |  |  | Basic | Base Level
Storage Reservoirs | 1.5 | 3 |  | 3 | 1.5 | 3 |  | 3
Transmission Mains | 8.1966 | 16.3932 | 1.1228 | 17.5161 | 8.1966 | 16.3932 | 1.1228 | 17.5161
Distribution Mains | 122.9494 | 245.8987 | 50.5271 | 296.4258 | 122.9494 | 245.8987 | 50.5271 | 296.4258
Connections | 192.1084 | 384.2167 | 20.5851 | 404.8019 | 192.1084 | 384.2167 | 20.5851 | 404.8019
Service Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total (m3/day) | 324.7543 | 649.5087 | 72.2351 | 721.7438 | 324.7543 | 649.5087 | 72.2351 | 721.7438
Total (m3/year) | 118535.3366 | 237070.6733 | 26365.8062 | 263436.4795 | 118535.3366 | 237070.6733 | 26365.8062 | 263436.4795
Cost (Rand/yr) | 237070.6733 | 474141.3466 | 52731.6124 | 526872.959 | 237070.6733 | 474141.3466 | 52731.6124 | 526872.959
7. Water Losses for number of Interventions per year
| Example Data |  |  | Actual Data
| Every 2 years | Every year | every 0.5 years | Every 2 years | Every year | every 0.5 years
Details
Storage Reservoirs | 3 | 3 | 3 | 3 | 3 | 3
Transmission Mains | 17.5161 | 17.5161 | 17.5161 | 17.5161 | 17.5161 | 17.5161
Distribution Mains | 604.2203 | 450.5336 | 373.6902 | 604.2203 | 450.5336 | 373.6902
Connections | 633.9143 | 521.2108 | 464.859 | 633.9143 | 521.2108 | 464.859
Service Connections | 0 | 0 | 0 | 0 | 0 | 0
Total (m3/day) | 1258.6507 | 992.2604 | 859.0653 | 1258.6507 | 992.2604 | 859.0653
Total (m3/year) | 459407.5063 | 362175.0577 | 313558.8334 | 459407.5063 | 362175.0577 | 313558.8334
Cost (Rand/yr) | 918815.0126 | 724350.1154 | 627117.6668 | 918815.0126 | 724350.1154 | 627117.6668
8. Total Intervention costs
Details | Example Data |  |  | Actual Data
| Intervention Cost | Cost of Losses | Total | Intervention Cost | Cost of Losses | Total
Every 2 years | 210125 | 918815.0126 | 1128940.0126 | 210125 | 918815.0126 | 1128940.0126
Every year | 396625 | 724350.1154 | 1120975.1154 | 396625 | 724350.1154 | 1120975.1154
Every 0.5 Years | 769625 | 627117.6668 | 1396742.6668 | 769625 | 627117.6668 | 1396742.6668

## Data Sheet 5
9a. Curve for Intervention Costs v Leakagecosts
Details | Example Data | Actual Data
Lone | 313558.8334 | 313558.8334
Ltwo | 362175.0577 | 362175.0577
Lthree | 459407.5063 | 459407.5063
Lb | 263436.4795 | 263436.4795
L1 - Lb = L1 | 50122.3539 | 50122.3539
L2 - Lb = L2 | 98738.5782 | 98738.5782
L3 - Lb = L3 | 195971.0268 | 195971.0268
L3 - L2 | 97232.4486 | 97232.4486
L2 - L1 | 48616.2243 | 48616.2243
L22 - L12 | 7237056462.48 | 7237056462.48
L32 - L22 | 28655336511.36 | 28655336511.36
C1 | 769625 | 769625
C2 | 396625 | 396625
C3 | 210125 | 210125
C1L1 | 38575416617.1179 | 38575416617.1179
C2L2 | 39162188573.7276 | 39162188573.7276
C3L3 | 41178412000.3765 | 41178412000.3765
C3L3 - C2L2 | 2016223426.6489 | 2016223426.6489
C2L2 - C1L1 | 586771956.6097 | 586771956.6097
A | 3223.8237 | 3223.8237
B | 0.059422 | 0.059422
C | 38264547540.4729 | 38264547540.4729
D | 2 | 2
9b. Curve Fitting For Leakage Graph
Example | Leakage | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
| Intervention Costs | 769625 | 598417.8228 | 490512.6522 | 416405.3986 | 362461.639 | 321511.366 | 289423.8059 | 263651.3725 | 242537.5086 | 224958.4579 | 210125
| Total Costs | 1396742.6668 | 1254705.2242 | 1175969.7881 | 1131032.2692 | 1106258.2441 | 1094477.7057 | 1091559.8802 | 1094957.1813 | 1103013.052 | 1114603.7359 | 1128940.0126
Actual | Leakage | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
| Intervention Costs | 769625 | 598417.8228 | 490512.6522 | 416405.3986 | 362461.639 | 321511.366 | 289423.8059 | 263651.3725 | 242537.5086 | 224958.4579 | 210125
| Total Costs | 1396742.6668 | 1254705.2242 | 1175969.7881 | 1131032.2692 | 1106258.2441 | 1094477.7057 | 1091559.8802 | 1094957.1813 | 1103013.052 | 1114603.7359 | 1128940.0126
9c. Additional Points for Graph
Details |  | Example Data |  |  | Actual Data
|  | Ymax | Ymin | X Value | Ymax | Ymin | X Value
Minimum Level of Leakage |  | 1396742.6668 | 0 | 118616.5252 | 1396742.6668 | 0 | 118616.5252
Target Level of Leakage |  | 1396742.6668 | 0 | 237233.0505 | 1396742.6668 | 0 | 237233.0505
Total Leakage |  | 1396742.6668 | 0 | 263616.9155 | 1396742.6668 | 0 | 263616.9155
INFORMATION FOR TOTAL COST GRAPH
Actual Data
Unavoidable background Losses |  | X | 118616.5252 | 118616.5252
|  | Y | 0 | 1396742.6668
Accepted Bacground Losses |  | X | 237233.0505 | 237233.0505
|  | Y | 0 | 1396742.6668
Base Level (incl Reported Bursts) |  | X | 263616.9155 | 263616.9155
|  | Y | 0 | 1396742.6668
Cost of Lost Water |  | X | 0 | 459407.5063
|  | Y | 0 | 918815.0126
Acrive Leakage Control Curve |  | X | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
|  | Y | 769625 | 598417.8228 | 490512.6522 | 416405.3986 | 362461.639 | 321511.366 | 289423.8059 | 263651.3725 | 242537.5086 | 224958.4579 | 210125
Total Cost Curve |  | X | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
|  | Y | 1396742.6668 | 1254705.2242 | 1175969.7881 | 1131032.2692 | 1106258.2441 | 1094477.7057 | 1091559.8802 | 1094957.1813 | 1103013.052 | 1114603.7359 | 1128940.0126
Cost of Active Leakage Control |  | X | 313558.8334 | 362175.0577 | 459407.5063
|  | Y | 769625 | 396625 | 210125
Total Cost |  | X | 313558.8334 | 362175.0577 | 459407.5063
|  | Y | 1396742.6668 | 1120975.1154 | 1128940.0126
CHART TITLE |  | Economic Leakage Level - Annual Costs Name of Water Undertaking:
Example Data
Unavoidable background Losses |  | X | 118616.5252 | 118616.5252
|  | Y | 0 | 1396742.6668
Accepted Bacground Losses |  | X | 237233.0505 | 237233.0505
|  | Y | 0 | 1396742.6668
Base Level (incl Reported Bursts) |  | X | 263616.9155 | 263616.9155
|  | Y | 0 | 1396742.6668
Cost of Lost Water |  | X | 0 | 459407.5063
|  | Y | 0 | 918815.0126
Acrive Leakage Control Curve |  | X | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
|  | Y | 769625 | 598417.8228 | 490512.6522 | 416405.3986 | 362461.639 | 321511.366 | 289423.8059 | 263651.3725 | 242537.5086 | 224958.4579 | 210125
Total Cost Curve |  | X | 313558.8334 | 328143.7007 | 342728.568 | 357313.4353 | 371898.3026 | 386483.1698 | 401068.0371 | 415652.9044 | 430237.7717 | 444822.639 | 459407.5063
|  | Y | 1396742.6668 | 1254705.2242 | 1175969.7881 | 1131032.2692 | 1106258.2441 | 1094477.7057 | 1091559.8802 | 1094957.1813 | 1103013.052 | 1114603.7359 | 1128940.0126
Cost of Active Leakage Control |  | X | 313558.8334 | 362175.0577 | 459407.5063
|  | Y | 769625 | 396625 | 210125
Total Cost |  | X | 313558.8334 | 362175.0577 | 459407.5063
|  | Y | 1396742.6668 | 1120975.1154 | 1128940.0126